## SD Comparison Table
Quantity | Raw Values (No Averaging) | Values after 160x Oversampling and Averaging (No Dithering) | Values after 160x Oversampling and Averaging (with Dithering)
1 Code Value Signal | 1 | 1 | 1
Sensor Noise SD
Quant Noise SD | 0.29 | 0.29 | 0.29
Dither Noise SD | 0 | 0
Total Input Noise
Noise after averaging (theoretical)
Noise after averaging (measured)

## Room Temp Table
Table 2 Temperature Sensor Readings -- Room Temperature
| ADC Value | Voltage | Degrees Celsius
Value for 25C
Standard Deviation
SNR (dB)